Method ASTM D1946/D1945 Target List and MDL

ASTM D1946, D1945, and EPA 3C are used for the analysis of permanent gases (also called fixed gases) and light hydrocarbons at the percentage level in all types of samples

	 
	 
	 

	Analyte
	RL
	RL

	
	
	

	
	%
	ppmV

	Oxygen
	0.01
	100

	Nitrogen
	0.01
	100

	Methane
	0.005
	50

	Carbon Monoxide
	0.005
	50

	Carbon Dioxide
	0.005
	50

	Special Request
	
	

	Hydrogen
	0.01
	100

	Helium
	0.01
	100

	Ethene
	0.005
	50

	Ethane
	0.005
	50

	Ethylene
	0.005
	50

	Propene
	0.005
	50

	Propane
	0.005
	50


