EPA Method 15 and Method 16 Target List and MDL

EPA Method 15 and Method 16 are used for the analysis of organic sulfur compounds collected on-site or in Tedlar bags.  The method uses a flame photometric detector (FPD) and has been modified by EAS to have a special Teflon concentrator with cryotrap to concentrate the sample so that a detection limit of  0.5 ppbv can be obtained.  

	 
	 
	 

	Analyte
	MDL
	LOQ

	
	
	

	
	ppbV
	ppbV

	Hydrogen Sulfide
	1
	5

	Carbonyl Sulfide
	1
	5

	Methyl  Mercaptan
	1
	5

	Ethyl Mercaptan
	1
	5

	Dimethyl Sulfide
	1
	5

	Carbon Disulfide
	1
	5

	i-Propyl Mercaptan
	1
	5

	Ethyl Methyl Sulfide
	1
	5

	n-Propyl Mercaptan
	1
	5

	Thiophene
	1
	5

	Isobutyl Mercaptan
	1
	5

	Diethyl Sulfide
	1
	5

	t-Butyl Mercaptan
	1
	5

	n-Butyl Mercaptan
	1
	5

	Dimethyl Disulfide
	1
	5

	3-Methylthiophene
	1
	5

	Tetrahydrothiophene
	1
	5

	2,5-Dimethylthiophene
	1
	5

	Diethyl Disulfide
	1
	5

	2-Ethylthiophene
	1
	5


