TO-17 Express List, MDL and RL

This is a list of common air pollutants that can be analyzed by TO-17.  The MDL for TO-17 is reported in ug per sample.  The actual MDL depends on the air volume sampled.  The MDL in ppbv and ug/m3 is based on a 1,000 ml air volume.

	CAS
	Compound
	MDL

ug
	MDL

ppbV
	RL

ppbv
	MDL

ug/m3
	RL

ug/m3

	75-01-4
	Vinyl chloride
	0.3
	0.5
	1.0
	1.3
	2.6

	75-35-4
	1,1-Dichloroethene
	0.4
	0.5
	1.0
	2.0
	4.0

	76-13-1
	Freon 113
	0.8
	0.5
	1.0
	3.8
	7.7

	75-09-2
	Methylene Chloride
	0.3
	0.5
	1.0
	1.7
	3.5

	75-34-3
	1,1-Dichloroethane
	0.4
	0.5
	1.0
	2.0
	4.1

	156-59-2
	cis-1,2-Dichloroethene
	0.4
	0.5
	1.0
	2.0
	4.0

	67-66-3
	Chloroform
	0.5
	0.5
	1.0
	2.4
	4.9

	71-55-6
	1,1,1-Trichloroethane
	0.5
	0.5
	1.0
	2.7
	5.5

	107-06-2
	1,2-Dichloroethane
	0.5
	0.5
	1.0
	2.0
	4.1

	71-43-2
	Benzene
	0.3
	0.5
	1.0
	1.6
	3.2

	56-23-5
	Carbon tetrachloride
	0.6
	0.5
	1.0
	3.2
	6.3

	78-87-5
	1,2-Dichloropropane
	0.5
	0.5
	1.0
	2.3
	4.6

	79-01-6
	Trichloroethene
	0.5
	0.5
	1.0
	2.7
	5.4

	10061-01-5
	cis-1,3-Dichloropropene
	0.5
	0.5
	1.0
	2.3
	4.5

	108-88-3
	Toluene
	0.4
	0.5
	1.0
	1.9
	3.8

	10061-02-6
	trans-1,3-Dichloropropene
	0.5
	0.5
	1.0
	2.3
	4.5

	79-00-5
	1,1,2-Trichloroethane
	0.5
	0.5
	1.0
	2.7
	5.5

	106-93-4
	1,2-Dibromoethane
	0.8
	0.5
	1.0
	3.9
	7.7

	127-18-4
	Tetrachloroethene
	0.3
	0.3
	0.5
	1.7
	3.4

	108-90-7
	Chlorobenzene
	0.5
	0.5
	1.0
	2.3
	4.6

	100-41-4
	Ethylbenzene
	0.4
	0.5
	1.0
	2.2
	4.4

	1330-20-7
	m,p-Xylene
	0.4
	0.5
	1.0
	2.2
	4.4

	95-47-6
	o-Xylene
	0.4
	0.5
	1.0
	2.2
	4.4

	108-67-8
	1,3,5-Trimethylbenzene
	0.5
	0.5
	1.0
	2.5
	4.9

	95-63-6
	1,2,4-Trimethylbenzene
	0.5
	0.5
	1.0
	2.5
	4.9


