 Method TO-12 Target List and MDL

Method TO-12 is used for the analysis of non-methane organic compounds (NMOC) in canisters or Tedlar bags.  The samples are analyzed loading a volume of air on a cryotrap and then desorbing the trap to a short capillary column and a flame ionization detector (FID).  All of the peaks are summed together to get the NMOC.  

	
	
	

	Analyte
	MDL

ppbv
	LOQ

ug

	TNMOC 
	1.0
	3.0


