Method TO-17 Compounds with MDL and RL

The TO-17 Compound List with MDL.  For TO-17 the MDL is reported as ug per sample.  The MDL can be calculated by dividing the MDL in ug by the air volume in m3.  The MDL and RL values below are for an air volume of 1,000 ml.  The TO-17 method can be run with any of the 100 VOC compounds listed on the TO-15 Extended list.

	CAS
	Compound
	MDL

ug
	MDL

ppbV
	RL

ppbv
	MDL

ug/m3
	RL

ug/m3

	75-71-8
	Dichlorodifluoromethane
	0.5
	0.4
	0.7
	2
	4

	74-87-3
	Chloromethane
	0.2
	0.4
	0.7
	1
	2

	76-14-2
	Freon 114
	0.7
	0.4
	0.7
	3
	5

	75-01-4
	Vinyl chloride
	0.3
	0.4
	0.7
	1
	2

	106-99-0
	1,3-Butadiene
	0.2
	0.4
	0.7
	1
	2

	74-83-9
	Bromomethane
	0.4
	0.4
	0.7
	1
	3

	75-00-3
	Chloroethane
	0.3
	0.4
	0.7
	1
	2

	75-69-4
	Trichlorofluoromethane
	0.6
	0.4
	0.7
	2
	4

	67-64-1
	Acetone
	0.2
	0.4
	0.7
	1
	2

	75-35-4
	1,1-Dichloroethene
	0.4
	0.4
	0.7
	1
	3

	76-13-1
	Freon 113
	0.8
	0.4
	0.7
	3
	6

	107-05-1
	Allyl chloride
	0.2
	0.4
	0.7
	1
	2

	75-09-2
	Methylene Chloride
	0.3
	0.4
	0.7
	1
	3

	75-15-0
	Carbon disulfide
	0.3
	0.4
	0.7
	1
	2

	156-60-5
	trans-1,2-Dichloroethene
	0.2
	0.2
	0.4
	1
	1

	1634-04-4
	Methyl tert butyl ether
	0.2
	0.2
	0.4
	1
	1

	75-34-3
	1,1-Dichloroethane
	0.4
	0.4
	0.7
	2
	3

	108-05-4
	Vinyl acetate
	0.4
	0.4
	0.7
	1
	3

	78-93-3
	2-Butanone
	0.3
	0.4
	0.7
	1
	2

	110-54-3
	Hexane
	0.2
	0.2
	0.4
	1
	1

	141-78-6
	Ethyl acetate
	0.4
	0.4
	0.7
	1
	3

	109-99-9
	Tetrahydrofuran
	0.3
	0.4
	0.7
	1
	2

	156-59-2
	cis-1,2-Dichloroethene
	0.4
	0.4
	0.7
	1
	3

	67-66-3
	Chloroform
	0.5
	0.4
	0.7
	2
	4

	71-55-6
	1,1,1-Trichloroethane
	0.5
	0.4
	0.7
	2
	4

	107-06-2
	1,2-Dichloroethane
	0.4
	0.4
	0.7
	2
	3

	563-58-6
	1,1-Dichloropropene
	0.2
	0.2
	0.4
	1
	2

	110-82-7
	Cyclohexane
	0.2
	0.2
	0.4
	1
	1

	71-43-2
	Benzene
	0.3
	0.4
	0.7
	1
	2

	56-23-5
	Carbon tetrachloride
	0.6
	0.4
	0.7
	2
	5

	540-84-1
	2,2,4-Trimethylpentane
	0.2
	0.2
	0.4
	1
	2

	142-82-5
	n-Heptane
	0.2
	0.2
	0.4
	1
	2

	78-87-5
	1,2-Dichloropropane
	0.5
	0.4
	0.7
	2
	3

	123-91-1
	1,4 Dioxane
	0.7
	0.7
	1.5
	3
	5

	79-01-6
	Trichloroethene
	0.5
	0.4
	0.7
	2
	4

	75-27-4
	Bromodichloromethane
	0.3
	0.2
	0.4
	1
	3

	108-10-1
	4-Methyl-2-pentanone
	0.2
	0.2
	0.4
	1
	2

	10061-01-5
	cis-1,3-Dichloropropene
	0.5
	0.4
	0.7
	2
	3

	108-88-3
	Toluene
	0.4
	0.4
	0.7
	1
	3

	10061-02-6
	trans-1,3-Dichloropropene
	0.5
	0.4
	0.7
	2
	3

	79-00-5
	1,1,2-Trichloroethane
	0.5
	0.4
	0.7
	2
	4

	591-78-6
	2-Hexanone
	0.2
	0.2
	0.4
	1
	2

	142-28-9
	1,3-Dichloropropane
	0.2
	0.2
	0.4
	1
	2

	124-48-1
	Dibromochloromethane
	0.4
	0.2
	0.4
	2
	3

	106-93-4
	1,2-Dibromoethane
	0.8
	0.4
	0.7
	3
	6

	127-18-4
	Tetrachloroethene
	0.3
	0.2
	0.4
	1
	3

	108-90-7
	Chlorobenzene
	0.5
	0.4
	0.7
	2
	3

	100-41-4
	Ethylbenzene
	0.4
	0.4
	0.7
	2
	3

	1330-20-7
	m,p-Xylene
	0.4
	0.4
	0.7
	2
	3

	100-42-5
	Styrene
	0.4
	0.4
	0.7
	2
	3

	75-25-2
	Bromoform
	0.3
	0.1
	0.2
	1
	2

	95-47-6
	o-Xylene
	0.4
	0.4
	0.7
	2
	3

	79-34-5
	1,1,2,2-Tetrachloroethane
	0.3
	0.2
	0.4
	1
	3

	96-18-4
	1,2,3-Trichloropropane
	0.3
	0.2
	0.4
	1
	2

	622-96-8
	4-Ethyltoluene
	0.2
	0.2
	0.4
	1
	2

	108-67-8
	1,3,5-Trimethylbenzene
	0.5
	0.4
	0.7
	2
	4

	95-63-6
	1,2,4-Trimethylbenzene
	0.5
	0.4
	0.7
	2
	4

	541-73-1
	1,3-Dichlorobenzene
	0.3
	0.2
	0.4
	1
	2

	100-44-7
	Benzyl chloride
	0.3
	0.2
	0.4
	1
	2

	106-46-7
	1,4-Dichlorobenzene
	0.3
	0.2
	0.4
	1
	2

	95-50-1
	1,2-Dichlorobenzene
	0.3
	0.2
	0.4
	1
	2

	120-82-1
	1,2,4-Trichlorobenzene
	0.2
	0.4
	0.7
	3
	6

	87-68-3
	Hexachlorobutadiene
	0.3
	0.4
	0.7
	4
	8


